Source Apportionment and Concentration of Potentially Toxic Elements in Surface Water and Sediments of Okulu-Aleto River, Rivers State Nigeria

*abAfolabi, O. O., acHart, A. I. & adNwankwoala, H. O.

aInstitute of Natural Resources, Environment and Sustainable Development, University of Port Harcourt, Nigeria

bInstitute of STEM Innovation and Excellence, Nigeria

c Department of Animal and Environmental Biology, University of Port Harcourt, Port Harcourt, Nigeria

d Department of Geology, Rivers State University, Port Harcourt, Nigeria

*Corresponding Author: Afolabi, O. O. (omobolaji_afolabi@uniport.edu.ng)

Supplementary Table (ST) 1: Sampling Points Details and Geographical Information

| Description | Code | Latitude | Longitude |
| --- | --- | --- | --- |
| Surface Water Details |  |  |  |
| Point Source | PS | 4° 48' 40.500" N | 7° 6' 29.900" E |
| Surface Water Point 1 | SWP1 | 4° 48' 29.177" N | 7° 6' 2.543" E |
| Surface Water Point 2 | SWP2 | 4° 48' 28.399" N | 7° 5' 28.621" E |
| Surface Water Point 3 | SWP3 | 4° 48' 54.573" N | 7° 4' 40.533" E |
| Sediment Details |  |  |  |
| Sediment Point 1 | SDP1 | 4° 48' 23.547" N | 7° 6' 3.276" E |
| Sediment Point 2 | SDP2 | 4° 48' 22.635" N | 7° 5' 28.416" E |
| Sediment Point 3 | SDP3 | 4° 48' 48.379" N | 7° 4' 41.823" E |

ST 2: Instrument operating conditions for PTEs in samples from Okulu-Aleto River, Rivers State Nigeria  Based on Flame Atomic Absorption Spectroscopy (FAAS).

| HMs | Wavelength (nm) | Slit width (nm) | Lamp current (mA) | Lamp energy (eV) | Flame system |
| --- | --- | --- | --- | --- | --- |
| Cu | 357.9 | 0.5 | 4 | 3.32 | Air-Acetylene |
| Zn | 213.9 | 1 | 5 | 2.81 | Air-Acetylene |
| Pb | 217 | 0.7 | 3 | 2.56 | Air-Acetylene |
| Cd | 228.9 | 0.7 | 2 | 2.9 | Air-Acetylene |
| Fe | 248.3 | 0.2 | 7 | 2.8 | Air-Acetylene |
| Cr | 357.9 | 0.7 | 2 | 3.18 | Air-Acetylene |
| Ni | 232 | 0.2 | 4 | 2.96 | Air-Acetylene |

SI: Measured limit of detection (LOD), limit of quantification (LOQ), regression coefficient, relative standard deviation (%RSD), and recovery (%) values for Surface Water

| PTEs | LOD (mg/l) | LOQ (mg/l) | Calibration range (mg/l) | Calibration equation | Correlation Coeff. (R2) | %RSD (Min.-Max.) | %Recovery (Min.-Max.) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fe | 0.012 | 0.071 | 0.1 - 20.0 | y = 0.0005x + 0.0001 | 0.996 | 3.2-10.4 | 88-98 |
| Cu | 0.006 | 0.022 | 0.02 – 10.0 | y = 0.0004x - 0.0012 | 0.999 | 7.6-11.9 | 87-99 |
| Zn | 0.055 | 0.16 | 0.2 - 10.0 | y = 0.0007x + 0.0022 | 0.997 | 4.1-7.7 | 86-98 |
| Cr | 0.001 | 0.012 | 0.01 - 1.20 | y = 0.2425x - 0.0041 | 0.997 | 4.9-11.2 | 87-98 |
| Pb | 0.004 | 0.011 | 0.01 - 10.0 | y = 0.0005x - 0.0001 | 0.997 | 1.9-5.3 | 90-95 |
| Cd | 0.005 | 0.04 | 0.02 - 1.20 | y = 0.0165x + 0.0004 | 0.999 | 3.6-9.0 | 93-99 |
| Ni | 0.024 | 0.061 | 0.1 - 10.00 | y = 0.0017x - 0.0065 | 0.998 | 5.2-10.8 | 85-93 |

Remark: PETs = Potentially Toxic Elements

ST 4: Measured limit of detection (LOD), limit of quantification (LOQ), regression coefficient, relative standard deviation (%RSD), and recovery (%) values for Sediment

| PTEs | LOD (mg/l) | LOQ (mg/l) | Calibration range (mg/l) | Calibration equation | Correlation Coeff. (R2) | %RSD (Min.-Max.) | %Recovery (Min.-Max.) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fe | 0.022 | 0.072 | 0.1 - 20.0 | y = 0.0005x + 0.0001 | 0.995 | 3.2-10.4 | 87-98 |
| Cu | 0.006 | 0.021 | 0.02 – 10.0 | y = 0.0004x - 0.0012 | 0.998 | 8.6-11.8 | 89-98 |
| Zn | 0.054 | 0.17 | 0.2 - 10.0 | y = 0.0007x + 0.0022 | 0.999 | 3.9-7.5 | 88-99 |
| Cr | 0.012 | 0.037 | 0.05 - 6.00 | y = 0.0111x - 0.0059 | 0.999 | 9.2-12.3 | 85-99 |
| Pb | 0.002 | 0.007 | 0.01 - 10.0 | y = 0.0005x - 0.0001 | 0.997 | 0.3-7.9 | 90-94 |
| Cd | 0.006 | 0.02 | 0.02 - 1.20 | y = 0.0165x + 0.0004 | 0.995 | 3.6-9.0 | 92-99 |
| Ni | 0.006 | 0.02 | 0.02 - 1.00 | y = 0.0098x - 0.0033 | 0.995 | 3.1-7.4 | 94-97 |

Remark: PETs = Potentially Toxic Elements

Table 4: Rotation component matrix of PTEs across the Environmental Mediums

|  | Surface Water |  |  |  | Sediment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | PC 1 | PC 2 | PC 3 |  | PC 1 | PC 2 | PC 3 |
| Cd | 0.085 | 0.995 | -0.061 |  |  |  |  |
| Ni | 0.760 | 0.529 | -0.355 |  |  |  |  |
| Cr | 0.776 | 0.445 | -0.446 |  | 0.982 | 0.068 | -0.178 |
| Cu | 0.993 | -0.115 | 0.023 |  | -0.079 | 0.996 | -0.036 |
| Zn | -0.953 | -0.228 | 0.159 |  | 0.110 | 0.991 | 0.074 |
| Pb | 0.971 | 0.150 | -0.162 |  | 0.982 | -0.185 | 0.022 |
| Fe | -0.128 | -0.075 | 0.989 |  | 0.927 | 0.194 | 0.322 |
| Eigenvalues | 4.851 | 1.252 | 0.036 |  | 2.828 | 2.042 | 0.130 |
| % of Variance | 57.716 | 22.301 | 19.409 |  | 56.115 | 41.033 | 2.852 |
| Cumulative % | 57.716 | 80.016 | 99.425 |  | 56.115 | 97.148 | 100.00 |

Supplementary Figure (SF) 1: Scree plot of eigenvalues after PCA and rotated component matrix of PTEs in Surface Water

SF 2: Scree plot of eigenvalues after PCA and rotated component matrix of PTEs in Sediment